## Slide 1: Live Project: Transformer Trip
Team:
 | Gary Cheng – garychengkl@gmail.com Santosh - santnair0599@gmail.com Celia Selvakumari -celiaselvakumari@gmail.com Wan Muhamad Taufik Wan Ahmad - taufikwanahmad@gmail.com, Lee Cheong Loong - cheongloong@gmail.com

## Slide 2: BUSINESS OBJECTIVE:
To classify root causes of the transformer trip and also identify the strong parameters which are associated with transformer tripping.
Agenda to Achieve Goal
To Understand the Business Problem
Identify the variable which are relevant to our business problem
Collect Public available data or Synthesized data
Exploratory data Analysis (EDA)
Build Algorithms
Then based on the accuracy Shortlist the better Algorithms
Tune the hyper parameter in Final model
Then visualize the prediction result’s in Tableau

## Slide 3: Transformer Trip Root causes
Classifying root causes for a transformer trip

## Slide 4: Causes for a transformer trip
A transformer’s circuit breaker or a protection relay trips when there is sudden voltage surge or a high current passing through. The breakers trips to avoid further damage to the transformer under these extreme conditions.
Usually a transformer trip is caused by external factors like extreme weather conditions and can be resolved in a day or two.
Operational and environmental data that causes a trip are, Load, Ambient Temperature and oil temperature
Transformer condition related data can be dissolved gases, moisture, capacity etc.

## Slide 5: Business Objective
Our aim is to classify the root causes for a transformer trip.
A classification model should be built that can correctly identify the root cause when we provide the input parameter values.
To accomplish this, we have to identify few of the major root causes and input parameters that contribute for causing that defect.

## Slide 6: 1. Lightening Surge
When lightening strikes on a transformer or the power lines, an electrical surge is created. This high voltage can cause high currents to flow, which will trip the breaker in transformer.
Also, heavy winds can cause tree branches to fall on power lines causing short circuit and the circuit breaker trips.
Input parameters for lightening surge trip are
  Highly prone to lightening and rainfall
  Wind speed more than 45 mph

## Slide 7: 2. Overload
When the load to a transformer becomes more than the installed capacity of the transformer, breaker can trip due to overload.
Input parameters are,
  Installation capacity
  Load of the transformer greater than the capacity
  Age – Old transformers may not provide the increasing power demand

## Slide 8: 3. Oil Leakage/Cooling system Failure
Oil leakage caused reduced oil quantity and affects the cooling for the transformer. This in turn increases the temperature inside the transformer and damages the vital parts. Higher temperatures inside can cause the transformer to trip.
Input parameters are,
  High humidity, high rainfall locations
  Presence of corrosive sulphur in cooling oil
  Low maintenance
  Age – Old transformers can be prone to corrosion and leakges

## Slide 9: 4. Insulation deterioration
This type of trip is caused by thermal degradation over the life of transformer, excessive or frequent fault current and high voltage stress.
Input parameters are,
  Age – old transformers are prone to deterioration
  Poor maintenance
  Ambient Temperature – more than 40C
  Oil temperature – more than 105C
  Winding Temperature – more than 110C

## Slide 10: 5. Dissolved gases in oil
When the concentration of dissolved gases in transformer oil is above the allowed limit, it can cause corona, Arcing and overheating. This will in turn result in transformer trip.
Input parameters are,
  Poor maintenance
  Hydrogen – more than 1000
  CO – more than 1000
  CO2 – more than 15000

## Slide 13
Clustering on Transformer Trip Data

## Slide 14: Transformer Trip Dataset
The dataset has 4076 observations and 17 variables.
We need to normalize the variables so that it becomes unit free and scale free

## Slide 15: Creating Euclidean Distance Matrix
Calculating the distances using Euclidean Matrix
Clustering based on Distance using Complete linkage method
d <- dist(normalize_data, method="euclidean")
fit <- hclust(d, method="complete")

## Slide 16: Dendrogram

## Slide 17: Dendrogram with 5 Clusters
There are no variables with high VIF

## Slide 18: Final Analysis of Clusters

## Slide 19
K means Clustering on Transformer Trip Data

## Slide 20: Cross Table to compare original Trip Cause with the 5 clusters

## Slide 21
Principal Component Analysis on Transformer Trip Data

## Slide 22: Transformer Trip Dataset
The dataset has 4076 observations and 17 variables.

## Slide 23: Correlation Matrix

## Slide 24: Summary of Principal Component
The first PC is capturing 28%
The second PC is capturing 20%
The third PC is capturing 15%
The fourth PC is capturing 10%
The fifth PC is capturing 8.5%
The sixth PC is capturing 6.7%
Together all 7 PCs are capturing 88%

## Slide 25: Plotting Principal Components
The first PC has highest variance followed by second and third.

## Slide 26: Biplot of Principal Components

## Slide 27: Principal Component Scores
Scores of first 6 components are generated and this is added to the transformer trip dataset

## Slide 28: Hierarchical Clustering - Dendrogram
We can make 5 clusters

## Slide 29: Aggregate of clusters
5 clusters and the aggregate values are displayed